## Slide 1: Proposed Model Conventions
Steve Ray
steve@steveray.com
September 25, 2020

## Slide 2: File infrastructure
A dedicated repository for our “working” model
A folder structure
  schema - To contain all our model files
  vocab - To contain any instance files
  doc - To contain supporting documentation
  imports - To contain the external standards that we're integrating with.

## Slide 3: File naming convention
Model files should be named as follows:
  [DIRECTORY_CONTENT_TYPE]_[PROJECT_[Domain-Path]*]_[Domain]-version.format
  e.g.
  SCHEMA_SP223_connections-v1.0.ttl
  VOCAB_SP223_units-v1.2.ttl
  We may choose to manage different parts of the schema using separate files, even when the classes share the same namespace (prefix).
  Each file has a unique base URI, but can contain class definitions for classes in other namespaces (prefixes).

## Slide 4: Prefixes & URIs
s223 for the main schema URI
  http://ashrae223.org/1.0/schema
v223 for the main vocabulary URI, if needed
  http://ashrae223.org/1.0/vocab
Others as the need arises
Versioning
  Given a version number MAJOR.MINOR, increment the:
    MAJOR version when you make incompatible changes,
      Any changes in a file, e.g., class name, property name
    MINOR version when you add functionality in a backwards compatible manner
      Add new classes, new properties, new restrictions to a vocab file

## Slide 5: Pulling it all together File, BaseURI, Prefix Example
SCHEMA_SP223_connections-v1.0.ttl
  Base URI: http://ashrae223.org/1.0/connection
  Prefix: s223c for base URI = http://ashrae223.org/1.0/connection
  Prefix: s223 for main schema URI = http://ashrae223.org/1.0/schema
Some sample content:
@prefix s223c: <http://ashrae223.org/1.0/connection#> .
@prefix s223: <http://ashrae223.org/1.0/schema#> .
<http://ashrae223.org/1.0/connection> a owl:Ontology ;
owl:imports …
…
s223:Connection a owl:Class ;
rdfs:label "Connection"@en ;
rdfs:comment """The class of connections between systems. This class qualifies property s223:connectedTo. A connection describes potential interactions between systems. Any two connected systems are connected through a connection. A connection can connect more than two systems at the same time."""@en ;
rdfs:subClassOf [ owl:onProperty s223:connectsSystem ; owl:someValuesFrom s223:System ] ;
rdfs:subClassOf [ owl:onProperty s223:connectsSystemAt ; owl:someValuesFrom s223:ConnectionPoint ] ;
owl:disjointWith s223:System .
Base URI, 1 per file